House repairs & needs

100 + year old house, one of first in Bonham as far as been predicted by local historians.

EXTERIOR

Roof:

Roof leaks wear asphalt shingles meet with old slate shingles above bathroom. Has temporary patch, needs skilled help.

A number of old slate shingles are broken or loose. An older roofer who is experienced with slate is needed.

Gutters:


Total inspection of gutters, add and/or replace gutters and down spouts.


Afraid water is running under house, needs appropriate drainage.

French Drain:


Bury PVC pipe from back of house to street to help with water flow


Rear of house is sinking, needs proper drainage.

House footings/foundation:

Inspection in crawl space to determine if footings need to be reinforced or house lifted. Kitchen and dinning room lean to the north. 

Upstairs Porch Eastside:

Porch has been worked on, but still leaks. It has a flat floor and water pools-up. Maybe a drain could be added or just make it a pitched roof.

Downstairs porch eastside:


Deck boards need replaced or major repair. Water damage.

Upstairs back porch:

Porch needs total repair or removal. If removed, asbestos siding will have to be attached.

Downstairs porch:


Porch boards need replaced or repaired.

House siding:

There is a number of loose, broken or missing asbestos siding tiles that need fixed or replaced. Replacement tiles could be removed from garage siding.

House paint:

Window trim and all wood trim needs old paint scraped off. Three sides of the house needs to be scraped and painted to match front of house that was spray painted in summer ’06. It’s white in color, but not sure of exact shade.

Wood trim:

West side of house needs new wood trim at peak of roof, fascia board or whatever it’s called.

Hardware cloth:

Crawlspace ventilation openings need to be covered with hardware cloth or some material to keep out wild animals.

Garage/shop:

Extension on carport roof is falling. Needs reinforced. West wall of garage seems to sway. Woodshop roof leaks in a few places, corrugated tin roof needs removed and replaced, or skillfully patched.

Missing window:

East side of house is missing a window glass. New glass put in and something to hide plywood board.

Storm windows:

All windows need storm windows custom made.

Tree stumps:

Remove tree stumps from front yard where trees have been cut off at ground level.  

INTERIOR

Upstairs bathroom:

Floor under toilet is rotting and toilet swivels about. Flooring need to be made structurally sound. Bathroom needs total remodeling, tub, toilet, sink, cabinets, flooring, walls and ceiling. Funding has been provided for this purpose.

Downstairs bathroom:


Finish carpentry is needed for door frame to match odd size door.

Bathrooms:


Replace shower/tub faucet washers, hot/cold.

Bathroom vents:

All three bathrooms need to have vent fans installed. Have been purchased, and electrician will connect. 

Stairway handrail:


Stairway handrail is loose and dangerous, needs tightened.

Kitchen:

Walls and cabinets to be painted, remove paint from cabinet hardware or replace. Paint range hood.

Dinning room:


Remodel whole room, remove old wallboard, hang drywall, paint, and wallpaper.

Laundry room:


Remove old flooring and lay linoleum down. 

Flooring:

There are a number of loose floor boards in the house that need tightened or reinforced properly.

Electrical:


House is old needs to be brought up to new codes.  Needs new breaker boxes, and 
complete new wiring.  Also wiring to outside lights

Leveling:


House is shifting and boards are buckling, making this a safety hazard for all.


Walls are cracking so house needs to be leveled before any other repairs can be 
done.

